|  | G:BOX mini 6 |  | G:BOX mini 9 | ChemStudio/ChemStudio Touch |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Applications |  |  |  |  |  |  |  |  |
| Gel Documentation | YES |  | YES | YES |  |  |  |  |
| Fluorescence | YES |  | YES | YES |  |  |  |  |
| Colorimetry/ densitometry | YES |  | YES | YES |  |  |  |  |
| Chemi- luminescence | YES |  | YES | YES |  |  |  |  |
| IR | YES |  | YES | YES |  |  |  |  |
| Stain-free | YES |  | YES | NO |  |  |  |  |
| Camera |  |  |  |  |  |  |  |  |
| Image resolution | CCD, 6MP, 2750x2200 18MP effective 73% QE at 425nm Peak QE 77% |  | CCD, 9MP, 3468x2728 27MP effective 73% QE at 425nm Peak QE 77% |  | CCD 8.1 MP, 16.2MP effective 5.4um x 5.4um pixels, 3296 x 2472, peak QE 50% (42% at 425nm) |  | CCD 4.1 MP, effective 12MP, peak QE 50% (42% at 425nm) |  |
| Bit depth (gray levels) | 16 bit, 65,536 |  |  |  | 16 bit, 65,535 |  |  |  |
| Dynamic range | 4.8 OD |  |  |  | 4.8 OD |  |  |  |
| Max exposure time | 23hrs 59mins |  |  |  | Unknown |  |  |  |
| Lens |  |  |  |  |  |  |  |  |
| Type | Motor driven, f/0.95 |  |  |  | Motorised f0.95 (25mm) |  |  | f/1.4 fixed lens |
| Max sample size (cm) | 15x12 cm |  |  |  |  | 21x16.8cm |  |  |
| Min sample size (cm) | 10x8cm |  |  |  |  | Not known |  |  |
| Sample platform |  |  |  |  |  |  |  |  |
| Type | Motor driven multi position sample platform |  |  |  |  | Motor driven zoom lens |  |  |
| Filter selector |  |  |  |  |  |  |  |  |
| Filter positions | 7 - Motor driven |  |  | 5 positions - Motor driven |  |  |  |  |
| Lighting options |  |  |  |  |  |  |  |  |
| Epi-white light |  | Yes |  | Yes |  |  |  |  |
| Epi-UV light |  | Optional |  | No |  |  |  |  |
| RGB and IR LED’s |  | Optional |  | Optional |  |  |  |  |
| Transilluminator |  | Optional. Choose from Syngene range |  | Yes |  |  |  |  |
| Hardware |  |  |  |  |  |  |  |  |
| Dimensions (WxHxD cms) | 40 x 64 x 52cm |  |  |  |  | 46x61x41cm |  |  |
| Software |  |  |  |  |  |  |  |  |
| Image acquisition | Yes |  |  | Yes |  |  |  |  |
| Analysis | Yes – unlimited free copies of GeneTools |  |  | Yes |  |  |  |  |
| Warranty |  |  |  |  |  |  |  |  |
|  | 3 years |  |  | 1 year |  |  |  |  |